## Slide 1: TRANSBRONCHIAL CRYOBIOPSY
Venerino Poletti
Dipartimento Malattie Apparato Respiratorio e del Torace
Azienda USL Romagna,
Pneumologie Ospedali di Forlì/Ravenna (I)
Department of Respiratory Diseases & Allergy
Aarhus University Hospital (DK)

## Slide 3: TECHNICAL NOTES

## Slide 4
The cooling agent is applied under high pressure (45 bar) through the central canal of the probe
The gas at the tip expands due to the sudden difference in pressure relative to the atmospheric pressure (Joule-Thomson effect), resulting in a drop in temperature at the tip of the probe and subsequent freezing effect
Notes: What is the mechanism underlying the functioning of cryprobe.
You can see the inner portion of the cryoprobe
The cryosurgical equipment operates by the Joule-Thompson effect
Usually
for the physical effect known as
The development of new, flexible and mechanically more stable cryoprobes with a larger tip area allows
4

## Slide 5: Cryoprobes of different sizes
Notes: New flexible cryoprobes have different diameters
which is the most used
5

## Slide 6
TRANSBRONCHIAL CRYOBIOPSY (MORGAGNI HOSPITAL RECIPE)
General anesthesia (Propofol/Remifentanil)
Spontaneous breathing
Rigid Tracheochoscope (Storz 14 mm-33 cm)+fiberoptic bronchoscope (6.2 mm)
Fogarty balloon
Fluoroscopic control (+/- radial EBUS)
Erbokryo CA, ERBE, Tubingen, Germany (CO2)
Cryoprobe 2.4 mm
A distance of approximately <= 10 mm from the thoracic wall
A perpendicular relation between the thoracic wall and the probe
The probe is cooled for approximately 5-6 s
Poletti V; et al Respirology 2014

## Slide 12: DIAGNOSTIC YIELD

## Slide 16
PlosOne- 2014

## Slide 17
The area of fragments strongly correlates with the diagnostic yield, mean area was
41,99+/-14.73 mm2 for diagnostic cases and 28.43+/-11.66 mm2 for non-diagnostic
cases, p = 0.038.

## Slide 18
Cryobiopsy: UIP with high confidence

## Slide 19: COMPLICATIONS

## Slide 20
None of the patients needed intervention to control bleeding, such as intubation with a double-lumen endotracheal tube or surgery
Pneumothorax occurred in 19 patients (27%) after the cryobiopsy procedure; 14 required chest tube drainage..
One patient died (1.4% of the cases) seven days after biopsy of acute exacerbation of UIP
4 screening failures (3 obese patients)
PlosOne, 2014.

## Slide 26: BIOPSY: different strategies

## Slide 28
Strategy 1
Strategy 2

## Slide 29
Study design
In the first arm (arm 1) four samples from the same segment were obtained ; in the second arm (arm 2) two samples from one segment and two other samples from another segment of the same lobe were taken.
In order to assess the minimum number of samples needed to reach a morphological diagnosis each cryobiopsy sample was processed individually.
Analysis of samples by pathologists was performed in a sequential way (from the first to the last sample) providing the identification of a pattern, or of characteristic morphologic features or, in the worse scenario, just a descriptive report for any single sample analyzed. Adding the next sample on top pathologists were also required to reformulate the report.

## Slide 30
 |  | ARM 1 | ARM 2 | P-value
Cases; N |  | 22 | 23 | 
Male; N (%) |  | 13 (59) | 15 (65) | 0,672
Age, median (range) |  | 65 (29-79) | 59 (22-74) | 0,706
FVC%, median (range) |  | 85,00 (49-137) | 90,00 (55-122) | 0,422
DLCO%, median (range) |  | 69,00 (37-121) | 63,00 (38-100) | 0,361
BMI, median (range) |  | 27,50 (19.8-32,8) | 25,95 (19.00-33,60) | 0,641
HRCT: Possible UIP; N (%) |  | 10 (45) | 11 ( 48) | 0, 873
HRCT: Inconsistent with UIP; N (%) |  | 12 (55) | 12 (52) | 
Table 1. Clinico-radiologic features of 45 patients
BMI= body mass index
HRCT= high-resolution CT scan
Notes: I test statistici calcolati sono il test del Chi-Quadrato o il test esatto di Fisher per le variabili categoriche e il test di Mann-Whitney per le variabili continue.

## Slide 32
STRATEGY
One sample in one segment and the second one in the adjacent segment
°biopsies in two different lobes:
ongoing multicenter study (Hetzel J, et al)

## Slide 33: Clinical role of Cryo-TBB

## Slide 37
RAVENNA 2016, in preparation