## Slide 1
I tracciati di ventilazione: una fonte sottoutilizzata di informazioni
Guido Polese
CEMS Verona

## Slide 2
Respiratory cycle
http://www.lionden.com
Notes: Permission to use this slide (a matter of academic integrity)
*If you are Kevin Patton's current student, you may use any slide for your own personal educational purpose.
**If you are a student not currently in Kevin's courses, you may use any slide for your own personal educational purpose and are also encouraged to feed the lions at http://www.lionden.com/feed_the_lions.htm
***If you are a teacher you may use any slide for your own nonprofit educational purpose and are also expected to feed the lions for each use of a slide. http://www.lionden.com/feed_the_lions.htm
****Commercial use is available only with Kevin's express written permission.
© KPatton@lionden.com . All rights reserved. DO NOT REMOVE THIS COPYRIGHT NOTICE LINE. Feedback, suggestions, corrections are most welcome!

## Slide 3
PCO2
PO2
pH
MUSCOLI RESPIRATORI
VE, VT, F
ADATTAMENTO
Notes: ANDREA

## Slide 4
Cosa ci racconta
il PROFILO VENTILATORIO
Centri respiratori

Muscoli respiratori

Movimento gabbia toracica
(carico meccanico)

Ventilazione polmonare  Ventilazione alveolare

Esigenze metaboliche
  VO2
  VCO2
Può fare
Deve fare
PROFILO VENTILATORIO = STRATEGIA

## Slide 5
Paziente e Meccanica

## Slide 7
1 SACL

## Slide 8: l'ESECUZIONE !
Ingegneri
Paziente- meccanica
Medico!!!
BPCO IRC IRC POLMONITE OBESITA' CIFOSI SCOPENSO IPTS POLMONARE ANSIA/DEPRESSIONE
… - - - …

## Slide 9
tracciato …….
…. l'esecuzione dell'Orchestra!
Notes: OBESO BPCO OSAS

## Slide 10: VM assistita = bicicletta elettrica
(pedalata assistita)

## Slide 11
PaC02 KVCO2
Va
How do ABG improve ?
from P. Navalesi e C. Gregoretti
+ACUTO o NMD
+CRONICO
    Vt and  (Vd/Vt)   V’a

     PaC02
     inspiratory effort
     load imposed by
    spontaneous ventilation

     V’CO 2
 Vt   V’a/Q’

     Pa02
     inspiratory effort
     V’02


## Slide 12
Curiosi, senza preconcetti, "ignoranti", attenti

## Slide 13
Ventilator waveforms provide real-time information about patient-ventilator interaction and ventilator function
…. in ascolto 🦻
…. in "ascolto" 🙌
….in "ascolto" 👁️
Find the difference !

## Slide 14: Types of Ventilator Waveforms: Scalars and Loops
Scalars are waveform representations of pressure, flow or volume on the y axis vs time on the x axis
Pressure vs time
scalar
Flow vs time
scalar
Volume vs time
scalar
Inspiratory
arm
Expiratory
arm
ATS: Lyer V & Holets S

## Slide 15
Tracciato ventilatore

## Slide 16: Profilo ventilatorio
40 Kgr. …. 100 Kgr. ….. IBW

## Slide 18: PSV “CONTROLLATA”

## Slide 19: PSV “SINCRONIZZATA”

## Slide 20: Airway pressure during PSV
A: inspiratory pressure trigger
B: rise of pressure provided by the initial flow into the airway
C: plateau of pressure support
D: end of pressure delivery

## Slide 21: Patient-ventilator asynchronies (PVA)

## Slide 22: TRIGGERS

## Slide 23: PSV

## Slide 24: Auto-triggering
Cycle delivered by the ventilator without a prior airway pressure decrease, indicating that the ventilator delivered a breath that was not triggered by the patient
Can be due to airleaks, or to an excessively high trigger sensitivity.
Moreover, changes in airway pressure and/or flow secondary to cardiac oscillations or water accumulation in ventilator tubing can erroneously be sensed as triggering efforts

## Slide 25: PSV
5 sec c.a

## Slide 27: PSV “ASINCRONIA”

## Slide 29: Ineffective efforts
Most frequent
Inspiratory effort not followed by a ventilator breath
Auto-PEEP common cause

## Slide 30
Auto PEEP is an important impediment to the reachement of the set inspiratory threshold
Patient’s effort has to overcome auto-PEEP before pressure change
This effort is greater than the effort of triggering the ventilator

## Slide 31: VF ?

## Slide 32: AVOID INFFECTIVE EFFORT OR NOT that is the question

## Slide 33: Presure support ventilation
Pressure rises to the set level of support and is maintained all along the inspiratory phase, but the ventilator is triggered by the patient
Volume and flow depend on pressure support setting, patient’s inspiratory effort and inspiratory time, airway resistance and lung+chest wall compliance

## Slide 34
20
20
1
0
-1
Paw (cm H2O)
Flow (L/s)
Pdi (cm H2O)
0
0
0.09 s

## Slide 35: PSV

## Slide 36
Calderini E Int Care Med 1999;25:662-7
Hang Up

## Slide 37: Delayed cycling
Ventilator inspiratory time exceeds the patients neural inspiratory time, an asynchrony known as late, prolonged or delayed cycling occurs
Most frequent causes are an inappropriate timing in cycling setting and airleaks
Chronic obstructive pulmonary disease (COPD) and asthma are risk factors for delayed cycling

## Slide 39: Premature cycling
The neural time is greater than the ventilator’s inspiratory time
Is more frequent in patients with low compliance or in case of inspiratory time set too short

## Slide 40: Duble triggering
The patient’s effort exceeds the trigger threshold, it can activate another breath, generating a double-triggering
It can be detected by an expiratory flow waveform that start with a peak, but it returns rapidly to a level near to 0 (baseline)
Two consecutive ventilator cycles (triggered by the patient) separated by an expiratory time lower than one-half of the mean inspiratory time

## Slide 41
BR GA
PCV S/T IPAP 16 EPAP 8 FR 12 TI 1.2

## Slide 42: PSV “ASINCRONIA”

## Slide 44: Airway pressure during PSV
A: inspiratory pressure trigger
B: rise of pressure provided by the initial flow into the airway
C: plateau of pressure support
D: end of pressure delivery

## Slide 45: PSV

## Slide 46
Flow
Pressure
Inspiration
Expiration
IPAP
EPAP
0
0
PS
Inspiration
Expiration
Rise time
From ERS Jean-Paul Janssens

## Slide 47
PSV “PERDITE”

## Slide 48
BR GA
PSV S/T AVAPS VT 400 IPAP 14-18 EPAP 8 FR 12 Ti 1.2
Rise Time 4
Rise Time 1

## Slide 49
BR GA
PSV S/T AVAPS VT 400 IPAP 14-18 EPAP 8 FR 12 Ti 1.2 TOLTO FILTRO

## Slide 50
A fast rise time is associated with high flow at the onset of inspiration
A slow rise time is associated with a lower flow at the onset of inspiration

## Slide 51
LOWEST WOB WITH THE FASTEST RISE TIME
Bonmarchand et al

## Slide 52: Recognizing Expiratory Flow Limitation (e.g. COPD, )
ASTHMA

## Slide 53: Recognizing prolonged expiration (air trapping)
Recognize
airway obstruction
when
Expiratory flow quickly tapers off
and then enters a prolonged
low-flow state without returning to
baseline (auto- PEEP)
This is classic for the flow
limitation and decreased lung
elastance characteristic of COPD
or status asthmaticus

## Slide 54: Detecting Auto-PEEP
Recognize
Auto-PEEP
when
Expiratory flow continues
and fails to return to
the baseline prior to the new
inspiratory cycle

## Slide 55: The development of auto- PEEP over several breaths in a simulation
Notice how the expiratory flow fails
to return to the baseline indicating
air trapping (AutoPEEP)
Also notice how air trapping causes
an increase in airway pressure
due to increasing end expiratory
pressure and end inspiratory
lung volume.
Notes: 55

## Slide 56
Auto-PEEP results in less positive or more negative mean intrathoracic pressure than does fully controlled mechanical ventilation

## Slide 57
Dynamic
hyperinflation
Iotti GA Misure di meccanica respiratoria
durante ventilazione artificiale
Hamilton Medical

## Slide 58
3A VAMI
PCO2 70
Notes: OBESO BPCO OSAS

## Slide 60: PSV “VTG”

## Slide 61
ZA FA ,
PCV S/T IPAP 12-20 EPAP 5 CURVA 1 FR 10 Ti/Tot 1:2 TRI1 VT 500 PMAX 20
Notes: Zanella fabio

## Slide 62
CA AQ
PSV ST IPAP 16-20 EPAP 10 curva 1 Fr 14 Tr. E Auto Tr. I 2 VT 450
Notes: Cavazza acquilina

## Slide 63
CA AQ
PCV ST ipap 16-20 epap 10 VT 450 TI 1.2 curva 1 Fr 14 Tr. E Auto Tr. I 2 VT 450

## Slide 64
Titolazione
Utilizzo
Verifica (tracciato)
Obiettivi
Il circolo virtuoso!!

## Slide 66: Non dimentichiamo !
Chi ha bene e va in cerca di meglio, trova il peggio.
Dal bene viene il meglio, e dal meglio il peggio.
Dopo un meglio, ne viene un peggio.
Il meglio è nemico del bene
Quando una cosa sta bene che basta, lasciala star perché si guasta
Se non può essere meglio, sia com'è.

## Slide 67
e poi venne il COVID ……
PSV