## Slide 1
Dispositivi cardiaci impiantabili per il controllo del ritmo: quando e perché
M. Zecchin
SS Elettrofisiologia Diagnostica ed Interventistica
SC Cardiologia Trieste

## Slide 2: DISPOSITIVI CARDIACI ELETTRONICI IMPIANTABILI (CIED)
Terapia anti-brady
Pacemaker endocavitari (monocamerali, bicamerali)
Terapia per la resincronizzazione cardiaca
  Pacemaker biventricolari (CRT-P)
  Pacemaker con stimolazione della branca sinistra
Pacemaker «leadless» (ventricolari, ventricolari con sensing atrio-ventricolare, atriali)
Terapia anti-tachy
Defibrillatori impiantabili (ICD) endocavitari (monocamerali, bicamerali)
Defibrillatori impiantabili con possibilità di resincronizzazione
  ICD biventricolari (CRT-D)
  ICD con stimolazione della branca sinistra
ICD non endocavitari
  ICD interamente sottocutanei (S-ICD)
  ICD «extravascular (EV-ICD)

## Slide 3
Zecchin et al , Eur J Int Med 2020, https://doi.org/10.1016/j.ejim.2020.09.003
Impianti PM e ICD in Italia: dati SDO (ISS)
2001-2017
Boll Epidemiol Naz 2025;6(1):30-37

## Slide 4: Pacemaker functions
Stimulate to achieve heart depolarization
Detect spontaneous heart activity
Modify pacing rate according to different metabolic demand
Give information
  on pacemaker function
  on heart function

## Slide 23: Pacemaker indications according to international guidelines (AHA/ACC/NASPE/ESC/ANMCO/AIAC)
SSS
  Symptomatic sinus bradycardia (HR < 40/min when awake)
  Symptomatic sinus pauses (> 3 sec when awake)
  Symptomatic chronotropic incompetence
AV block
  II degree AVB type 2
  Advanced AVB during SR or AFib
  Total AVB
Intraventricular block
  Trifascicular block (RBBB alternated with LBBB, RBBB + LAE alt. with RBBB + LPE)
  Bifascicular block (LBBB, RBBB + LAE, RBBB + LPE) with syncope

## Slide 24
Terapia di resincronizzazione (CRT-P/CRT-D)

## Slide 27
CONDUCTION PACING SYSTEM (CSP)

## Slide 28
Stimolazione della branca sinistra
V1
V6

## Slide 29
Stimolazione della branca sinistra

## Slide 30
Stimolazione della branca sinistra

## Slide 31: Summary of CSP indications
AVB, atrioventricular block;
BiVP, biventricular pacing;
CSP, conduction system pacing;
HBP, His bundle pacing;
HOT/LOT-CRT, His-optimized or left bundle-optimized cardiac resynchronization therapy;
LBBAP, left bundle branch area pacing
LVEF, left ventricular ejection fraction;
MVP, minimized ventricular pacing;
RVP, right ventricular pacing.

## Slide 33
pnx

## Slide 34: Curva di sopravvivenza libera da revisione degli elettrodi
Koneru et al J Am Heart Assoc. 2018;7:e007691. DOI: 10.1161/JAHA.117.007691

## Slide 35
PACEMAKER «LEADLESS»
SISTEMA MEDTRONIC (MICRA)

## Slide 37: Reduced Major Complications with Micra
63% reduction in risk for major complications through 12 months relative to transvenous pacemakers
1El-Chami et al HRS Scientific Sessions 2018

## Slide 38
The use of a leadless pacemaker for ventricular pacing may
serve as a feasible future alternative after tricuspid valve repair or replacement by a bioprosthesis.
However, experience is very limited, and no long-term data are available in this cohort. Crossing a mechanical tricuspid valve with the delivery sheath and a leadless pacemaker is contraindicated

## Slide 39: Sistema trans-catetere Micra™ AV
L’accelerometro incluso nel Micra AV’s consente di rilevare l’attività meccanica atriale ed utilizzare questa informazione per ottenere un pacing ventricolare atrio-sincronizzato16
Il dispositivo è dotato di un nuovo circuito integrato in grado di supportare questa nuova funzionalità di sincronia AV16
La stima della durata della batteria è di 8-13 anni a seconda del grado di blocco AV del paziente10,12
*AVB-only patients who would benefit from leadless pacing per the indications for use.
17
17
Notes: Possiamo dunque dire che i dati supportano favorevolmente la nuova tecnologia leadless…che negli ultimi mesi ha visto entrare sul mercato il Micra AV. Un dispositivo strutturalmente identico al Micra VR ma all’interno del quale l’elettronica è in grado di interpretare i dati provenienti dall’accelerometro di modo da consentire il rilevamento dell’attività meccanica atriale e dunque consentire un pacing atrio-sincronizzato.

## Slide 41
LEADLESS
SISTEMA ABBOTT (AVEIR)

## Slide 43
Dual chamber pacemaker

## Slide 44
30/3/26
Primo impianto leadless bicamerale a Trieste

## Slide 45
Knops et al N Engl J Med 2023;388:2360-70
Procedural Characteristics

## Slide 46
Knops et al N Engl J Med 2023;388:2360-70
Complications within 90 Days

## Slide 47: Retrieval Success Rates Remained High, Regardless of Implant Duration1
* Limited data is available for AVEIR leadless pacemakers
1 Reddy, VY, et al. Worldwide Experience with Leadless Pacemaker Retrievals: A Worldwide Nanostim Experience out of 9y. Presented at: APHRS 2022; Nov 18-20, 2022; Singapore.
Chart: 
| 0-1 year | 1-2 year | 2-3 year | 3-4 year | 4-5 year | 5-6 year | >=6 year
Series 1 | 0.86 | 0.94 | 0.82 | 0.95 | 0.77 | 0.85 | 1
(n=27)
(n=49)
(n=54)
(n=39)
(n=31)
(n=20)
(n=20)

## Slide 48
Yeghiazarians et al Circulation. 2021;144:e56–e67. DOI: 10.1161/CIR.0000000000000988
Obstructive Sleep Apnea and Arrhythmias
Long pauses and bradycardia are common in patientswith OSA.
58% of patients with implanted pacemakers for sick sinus syndrome had previously undiagnosed sleep apnea syndrome
An increased risk of sudden cardiac death has been reported in patients with severe OSA
In a study of 10 071 adults, OSA predicted incident sudden cardiac death, with the best predictors
being age >60 years, mean nocturnal oxygen saturation <78%, and AHI >20

## Slide 49: ApneaScan as screening tool
Breathing movements → Impedence variations
ApneaScan uses the Respiratory Sensor to monitor breathing patterns
Event: 26% reduction of breathing amplitude lasting 10 seconds or more (including full breathing pauses)
Duration Threshold (10 s)
Amplitude Threshold (0.7)
Impedance
Airflow
Apnea / Hypopnea Event Detection Example
Implanted Impedance-based
Respiration Sensor
Incepta ICD Reference Guide - 358431-014 EN Europe 06/11
Incepta CRTD Reference Guide - 358440-014 EN Europe 06/11
Notes: Il dispositivo si calcola le variazioni di impedenza transtoracica e la frequenza degli atti respiratori.
49

## Slide 50
Mazza et al Clin Cardiol. 2020;43:1609–1615
Obstructive Sleep Apnea Atrial Fibrillation and stroke

## Slide 51
Kaplan–Meier plot on appropriate cardioverter-deﬁbrillator therapies
according to sleep disordered breathing (sleep apnoea: AHI ≥ 5 h-1).
Bitter et al European Heart Journal 2011;32:61–74
(central sleep apnoea)
(obstructive sleep apnoea)
(no sleep disordered breathing)

## Slide 52
Impact of Sleep-Disordered Breathing Treatment on Ventricular
Tachycardia in Patients with Heart Failure
Gerçek et al J. Clin. Med. 2022, 11, 4567

## Slide 53: DEFIBRILLATORE IMPIANTABILE (ICD= Implantable Cardioverter Defibrillator)
Dispositivo in grado di riconoscere e trattare:
  le aritmie ipocinetiche (= pacemaker)
  Le aritmie ipercinetiche ventricolari
    Antitachycardia pacing (ATP)
    Shock intracavitario

## Slide 54: Pazienti con nuova diagnosi di HFrEF Linee guida HF ESC 2021
Pazienti post IM
Linee guida
SCD e VA ESC 2022
Zeppenfeld K et al. Eur Heart J 2022;43:3997-4126
McDonagh TA et al. Eur Heart J 2021;42:3599-726

## Slide 55: Interruzione delle TV con antitachycardia pacing Modalità di interazione stimolo-circuito
*
tachycardia
ineffective
pacing
effective
pacing
*
Rosenqvist. in Am J Cardiol 1996; 78(5A): 92-97

## Slide 56: Interruzione di TV con ATP

## Slide 57
FIBRILLAZIONE VENTRICOLARE TRATTATA CON SHOCK

## Slide 58
FIBRILLAZIONE VENTRICOLARE TRATTATA CON SHOCK

## Slide 60: Concerns related to transvenous ICD
Indicate the level of concern you have, if any, regarding each of the following types of potential ICD complications 7 = Extremely Concerned 1 = Not at all Concerned

## Slide 61
Annual rate of defibrillation lead defects versus time after lead implantation
Kleemann et al. Circulation. 2007;115:2474-2480
Notes: Figure 2. Annual rate of defibrillation lead defects versus time after lead implantation. The annual rate of ICD lead defects increases with time (P<0.001, Cochran-Armitage test). *Failures per number at risk.

## Slide 62
Subcutaneous ICD
(S-ICD)

## Slide 63: Device-related complications in PRAETORIAN: prospective, randomized, trial comparing S-ICD and TV-ICD outcomes
Knops R.E., et al. Eur Heart J 2022; 43(47):4872-4883.
63
63
In the first randomized S-ICD and TV-ICD trial, device-related complications requiring invasive intervention at 4 years for S-ICD patients was 4.3%, significantly lower than to 8.3% for TV-ICD patients.

## Slide 65
S-ICD
EV-ICD

## Slide 66: TIMING DELL’ICD NELLA CARDIOPATIA ISCHEMICA

## Slide 67
Rate of SD or Cardiac Arrest with Resuscitation over the Course of the Trial
Data from VALIANT study
Solomon et al Engl J Med 2005;352:2581-8.

## Slide 68
< 1 month after MI
LVEF<40%, HR > 90 bpm and/or NSVT
6-40 days after MI
LVEF≤35% SDNN/HRV <70 msec or HR>80 bpm
ICD early after an MI
Steinbeck G et al NEJM 2009;361:1427
Hohnloser et al NEJM 2004;351:2481

## Slide 69
N Engl J Med 2004;351:2481-2488
Notes: > Mortalità cardiaca non improvvisa (> rischio di IMA fatali?): non effetto deteriore di stim v xd (prog VVI 40)

## Slide 70
Pathogenesis of Sudden Unexpected Death in Patients With Myocardial Infarction and Left Ventricular Dysfunction, Heart Failure, or Both
Data from VALIANT study
Pouleur et al Circulation 2010;122:597-602
Observed proportions of sudden unexpected death by
presumed arrhythmic death or by MI/myocardial rupture

## Slide 71: Il rischio acuto di SCD nei pazienti post-IM
Solomon et al. N Engl J Med. 2005 Jun 23;352(25):2581-8
Olgin et al. N Engl J Med. 2018;379(13):1205–1215.
2005 VALIANT TRIAL1 -> SCD 1,4% a 30 giorni
2018 VEST TRIAL2 -> SCD 2,4% a 90 giorni
Notes: Rischio + conferma del rischio dal gruppo di controllo dello studio VEST

## Slide 72
Time Dependence of Mortality Risk and Defibrillator Benefit After Myocardial Infarction
Data from the MADIT II study
Wilber et al Circulation 2004;109:1082-4

## Slide 73: TIMING DELL’ICD NELLA CARDIOPATIA NONISCHEMICA

## Slide 74
Zecchin et al Am J Cardiol 2012;109:729-35
Study population and effect of medical treatment optimization on “SCD-HeFT criteria”

## Slide 75
Zecchin et al Am J Cardiol 2012;109:729-35
Long-term survival
Long-term survival free from SD/MVA
A1: baseline “SCD-HeFT criteria” both at ﬁrst and second evaluation
A2: baseline “SCD-HeFT criteria” at ﬁrst but not at second evaluation
B1: patients developing “SCD-HeFT criteria” only at second evaluation
B2: patients without “SCD-HeFT criteria” at ﬁrst or second evaluation
A1 vs A2, p <0.001;
A1 vs B1, p=0.18
A2 vs B2, p=0.10
A1 vs A2, p=0.014
A1 vs B1, p=0.8
A2 vs B2, p=0.6.

## Slide 76: Il rischio acuto di SCD nei pazienti con nuova diagnosi di HFrEF
Pokorney et al. Eur J Heart Fail . 2018 Mar;20(3):525-532
Mueller-Leisse J et al. 2021 Dec;8(6):5142-5148.
2018 ASCEND-HF TRIAL1 -> SCD 2% a 30 giorni
2021 PROLONG TRIAL2 -> SCD 4% a 90 giorni

## Slide 77
GRAZIE